***First Aid Kits***

* Evaluate the work place to determine what type of kit is adequate for hazards and number of workers. (Refer to OSHA 1910.151)
* Must meet ANSI/ISEA Z308.1 minimum performance requirements for first aid kits.
* Maintained in accordance with the first aid equipment list at the end of this document
* First aid kits are easily accessible and identifiable.
* First aid kit is ready at all times for a medical emergency.
* Any items removed are recorded on the treatment log and replaced as soon as possible.
* All personnel are familiar with the content and location of first aid kits.
* The Site Medical Professional and/or a trained first aider is designated to maintain first aid kits.

***Site Medical Facilities***

* Evaluate the work place to determine what size of medical facility is adequate for hazards and number of workers.
* Ensure prominent signage that indicates location of site medical facility.
* Ensure there is proper signage that provides detailed Medical Response Plan that outlines how to seek care when injured or ill at work.
* Hallways must be sufficiently wide to permit stretcher access.
* Ensure access to the rest of the installation / facility from this point and to evacuation and escape routes.
* Must be locked at all times when the Site Medical Professional is not in.
* Key/badge access by Site Medical Professional.
* Ensure adequate lighting, ventilation, drainage, floor space, power-points, storage- space and work-top area.
* Ensure there is emergency power and lighting.
* Ensure the surfaces of floor, walls, ceiling and work-top-area are covered with and constructed of an impervious washable material and are effectively cleanable.
* Ensure the equipment is effectively cleanable.
* Ensure there is a hand wash basin adjacent to the working surface and hot and cold (drinking) water.
* Ensure there are toilet facilities adjacent to the site medical facility and for its exclusive use.
* Ensure the bath has access from three sides.
* Ensure the toilet is separated by at least 2 doors from the treatment area.
* Ensure clinical waste is disposed of appropriately in biohazard medical waste receptacles.
* Ensure needles and sharps are disposed of safely and appropriately.
* Ensure quarters of the Site Medical Professional are adjacent to the site medical facility.
* Ensure communication with all areas on site is effective.

***Medications and Fluids***

* The Site Medical Professional refers to approved protocols and the Local Medical Director before dispensing controlled drugs and prescription medications.
* Medications and fluids are stocked in appropriate quantities.
* Are stored in locked cupboards, securely fixed to the structure.
* Are stored at an appropriate temperature and, where refrigeration is required, stored in a Drugs fridge.
* The Site Medical Professional disposes of time-expired drugs safely.
* Oversight of the ordering and supply of drugs and medical equipment is in place.

***Controlled Drugs***

* Are stored in a double-locked cabinet.
* Shows no evidence of tampering or substitution.
* Are transported on and off site in a verifiable manner by a responsible person.
* Certificates of destruction are stored with the Controlled Drugs Register.
* The register shows no evidence of alterations and the drugs listed correspond with the drugs onsite.
* The Controlled drugs are checked weekly or fortnightly by the Site Medical
* Professional and Site Manager and the register signed to this effect

***Medical Equipment***

* Medical equipment is marked so it easily recognizable by untrained personnel.
* Medical equipment is readily accessible.
* Equipment is regularly cleaned and where appropriate, in a sterile condition.
* Equipment is calibrated in accordance with Manufacturer’s recommendations.
* Equipment is checked on a daily basis to ensure it is in good working order and a log maintained to this effect.
* Equipment is replaced in a timely manner if it is not functioning properly.

***Cardiac Monitor (for ACLS certified professionals)***

* 12-lead ECG/EKG ( LIFEPAK 12/15, Philips MRx or [approved by FDA](https://www.fda.gov/medical-devices/cardiovascular-devices/automated-external-defibrillators-aeds) )
* Cardiac monitor is checked on a daily basis to ensure it is in good working order.
* Batteries are charged and functioning.
* All cables are free of cuts and frays.
* All accessories are available and ready for use for the cardiac monitor.

***Automatic External Defibrillator (AED)***

* Recommended models of AED (LIFEPAK CR Plus, Powerheart AED

3G Plus, ZOLL AED Plus or [approved by FDA](https://www.fda.gov/medical-devices/cardiovascular-devices/automated-external-defibrillators-aeds))

* AED is located in a place that easily accessible.
* Personnel are advised of the location of the AED.
* AED is checked monthly to ensure it is in good working order and calibrated at regular intervals, in accordance with Manufacturer’s recommendations.
* Personnel are trained in the use of AED.

***Breathe Alcohol Machine (only if performing tests)***

* Device selected must be on the US Department of Transportation Approved Alcohol Screening Devices List. <https://www.transportation.gov/odapc/approved-alcohol-screening-devices>
* Calibration Checks (minimum every 30 days) and Calibration (minimum every 12 months) are performed in accordance with Manufacturer’s recommendations and printouts are emailed to [bhpcalibration@wpcidrugfree.com](mailto:bhpcalibration@wpcidrugfree.com)
* Lock out period is set on the breath alcohol machine.
* Maintain the machine and printer in a state of readiness.
* Ensure any concerns regarding performance of the machine is promptly reported to the Petroleum Principal - Health A & I.
* Ensure the machine is stored and used in accordance with the Manufacturer’s recommendations.

***RESPONSIBILITIES***

***Site Medical Professionals***

* Ensure medication and equipment is administered in accordance with the approved medical protocols.
* Ensure medications and consumables are in date.
* Inspect and inventory the medical equipment according to defined intervals.
* Ensure medical and emergency equipment is clean, maintained and in good working order.
* Ensure equipment is calibrated and serviced in accordance with Manufacturer’s recommendations and maintain records of same, including breath alcohol machines.
* Secure medications, controlled drugs and vaccinations in a locked facility.
* Maintain confidentiality of medical records.

***HSE Managers / HSE Supervisors***

* Consult with the Petroleum Principal - Health A & I and Petroleum Medical Director to review the adequacy of medical equipment and facilities proposed for operational sites.
* Ensure an independent audit of site medical equipment and facilities is conducted at regular intervals.
* Ensure equipment is maintained and appropriately secured.
* Ensure medical facilities and equipment are adequate to meet the needs of the operations.

***Senior Line Managers***

* Ensure responsibility is assigned to inspect and maintain first aid and medical facilities.
* Ensure competent and experienced Site Medical Professionals are identified.
* Ensure that medical facilities and equipment are in place before the start of operations.

***Records***

* Site Medical Professionals shall maintain current copies of the following to show verify compliance with this procedure:
  + Inventory log of medical equipment, medications and consumables
  + Equipment inspection and calibration log
  + Treatment log
  + Controlled drugs register

**First Aid Kit Contents (Designed for small work sites; Larger work sites should have multiple kits available)**

***ANSI/ISEA Z308.1-2015 Class A First Aid Kits:*** Class A kits are designed to deal with the most common types of workplace injuries.

|  |  |
| --- | --- |
| 16 | Adhesive Bandages, 1" x 3" |
| 1 | Adhesive Tape 2.5 yd |
| 10 | Antibiotic Treatment Application, 1/57 oz |
| 10 | Antiseptic Applications 1/57 oz |
| 1 | Breathing Barrier |
| 1 | Burn Dressing, gel soaked, 4" x 4" |
| 10 | Burn Treatment, 1/32 oz |
| 1 | Cold Pack |
| 2 | Eye Covering |
| 1 | Eye Wash, 1 oz. |
| 1 | First Aid Guide |
| 6 | Hand Sanitizer, 0.9g |
| 2 | Pair Exam Gloves |
| 1 | Roller Bandage, 2" x 4 yds |
| 1 | Scissors |
| 2 | Sterile Pad, 3" x 3" |
| 2 | Trauma Pad, 5" x 9" |
| 1 | Triangular Bandage, 40" x 40" x 56" |

***ANSI/ISEA Z308.1-2015 Class B First Aid Kits:*** Class B kits are designed with a broader range and quantity of supplies to deal with injures in more complex or high-risk environments.

|  |  |
| --- | --- |
| 50 | Adhesive Bandages, 1" x 3" |
| 2 | Adhesive Tape 2.5 yd |
| 25 | Antibiotic Treatment Application, 1/57 oz |
| 50 | Antiseptic Applications 1/57 oz |
| 1 | Breathing Barrier |
| 2 | Burn Dressing, gel soaked, 4" x 4" |
| 25 | Burn Treatment, 1/32 oz |
| 2 | Cold Pack |
| 2 | Eye Covering |
| 1 | Eye Wash, 4 oz. |
| 1 | First Aid Guide |
| 10 | Hand Sanitizer, 0.9g |
| 4 | Pair Exam Gloves |
| 2 | Roller Bandage, 2" x 4 yds |
| 1 | Roller Bandage, 4" x 4 yds |
| 1 | Scissors |
| 1 | Splint min 4" x 24" |
| 4 | Sterile Pad, 3" x 3" |
| 1 | Tourniquet |
| 4 | Trauma Pad, 5" x 9" |
| 2 | Triangular Bandage, 40" x 40" x 56" |

**Medical Supplies/Medications/Equipment for Site Medical Facilities**

The suggested quantities are based on a headcount of 80-100 personnel. This should be adjusted based on the headcount and access to appropriate medical care within a reasonable amount of time

|  |  |  |  |
| --- | --- | --- | --- |
| **Drug name** | **Dosage Form** | | **QTY** |
| **Advanced Life Support Medications (Essential)** | | | |
| Activated Charcoal (actidose-agua) |  | | 1 |
| Adenosine (Adenocard) | 6mg | | 3 |
| Albuterol Sulfate (Albuterol, Proventil, Salbumatol, Ventolin) | 3mL | | 10 |
| Amiodarone -150 mg dose vial | 50mg/mL | | 2 |
| Atropine Sulfate | prefilled | | 8 |
| Calcium Chloride | 20 mL | | 2 |
| Dextrose 50% | 25g/50mL | | 2 |
| Diltiazem | 10mL | | 3 |
| Diphenhydramine (Benadryl) | 10mL | | 3 |
| Dopamine |  | | 2 |
| Epinephrine 1:1000 (Adrenaline) | 1mL = 1mg | | 2 |
| Epinephrine 1:1000 (Adrenaline) | 30mL | | 1 |
| Epinephrine 1:10000 (Adrenaline) | 10mL | | 15 |
| Furosemide (Lasix) | 10 ml | | 2 |
| Glucagon w/diluting solution | prefilled | | 1 |
| Glucose (tubes) |  | | 3 |
| Ipecac syrup | 30mL bottle | | 2 |
| Ipratropium bromide (Atrovent) | prefilled | | 2 |
| Ketorolac tromethamine (Toradol) | 10mL | | 6 |
| Lidocaine 2% injectable | prefilled | | 1 |
| Magnesium Sulfate | 10mL | | 2 |
| Methylprednisolone (a-methapred, Solu-Medrol) |  | | 3 |
| **Midazolam 10 ml vials (controlled drug)** | **prefilled** | | **5** |
| **Morphine sulfate 10 ml vials (controlled drug)** | **prefilled** | | **5** |
| Naloxone (Narcan) | 2mg | | 2 |
| Nitroglycerin ointment (packet) |  | | 10 |
| **Drug Name** | **Dosage Form** | | **QTY** |
| Nitroglycerin tablets | 0.4mg | | 10 |
| Nitroglycerine (spray) | 0.4mg/spray | | 1 |
| Nitrol Appli-Ruler (pad) for application of Nitroglycerin ointment |  | | 1 |
| Ondansetron | 10mL | | 2 |
| Promethazine (Phenergan) - 1 ml |  | | 4 |
| Sodium Bicarbonate |  | | 2 |
| **Prescription Medications (Recommended)**  ***Note: Authorization from Medical Director required*** | | | |
| Amoxicillin 500 mg tablets |  | | 200 |
| Antipyrine & Benzocaine Otic Solution | Bottle | | 2 |
| Azithromycin (Dose Pack) | 500mg | | 2 |
| Betamethasone Valerate | Tube | | 1 |
| Cefazolin Sodium (Ancef) | prefilled | | 2 |
| Ceftriaxone (Rocephin) | prefilled | | 1 |
| Cephalexin (Keflex) | 500mg | | 100 |
| Cimetadine | 400 mg | | 100 |
| Ciprofloxacin | 500mg | | 6 |
| Dexamethasone (Decadron) | prefilled | | 5 |
| Doxycycline HCL (Vibramycin) | 100mg | | 20 |
| Erythromycin | 500 mg | | 100 |
| Gentamycin Sulfate (Ophthalmic Solution) | Bottle | | 2 |
| Lidocaine 1% without Epinephrine 20ml vial (Local) |  | | 2 |
| Marcaine 0.25% without Epi. (Local)-20 ml |  | | 1 |
| Meclizine (Bonine, Antivert) or Prochlorperazine (Stemetil) | 12.5mg | | 1 |
| Methylprednisone (Medrol) Dose Pack |  | | 2 |
| Neomycin & Polymyxin B (cortisporin otic solution10ml) | Bottle | | 2 |
| Penicillin VK | 500mg | | 100 |
| Silvadene cream |  | | 1 tube |
| Sulfamethoxazole & Trimethroprim DS (Septra DS) | 960 mg | | 120 |
| **Drug Name** | **Dose Form** | | **QTY** |
| Tetanus DT (single dose syringe) – **refrigerate** | prefilled | | 5 |
| Tetracaine HCL (0.5% vial) | prefilled | | 1 |
| **Over the Counter Medications (Recommended)** | | | | |
| Alamag Plus | |  | 1 box | |
| Alka Selzer | |  | 2 boxes | |
| Anusol HC (Ointment) | | Tube | 2 | |
| **Acetaminophen / Paracetamol (Tylenol, Panadol) \*** | | **250mg** | **1 box** | |
| **Aspirin (Bayer) \*** | | **325mg** | **1 box** | |
| Back Pain Off (250x2)-250 mg tablets | |  | 1 box | |
| Burn Spray | | 3oz can | 1 | |
| Carmex | | 0.35oz  (tube) | 24 | |
| Cetirizine (Zyrtec) | |  | 1 box | |
| Clotrimazole antifungal cream | | Indiv Pack | 1 box | |
| Diamode (100x1) anti- diarrhea | |  | 1 box | |
| Diotame (50x2) | |  | 1 box | |
| Diphenhydramine (Benadryl) | | 25mg | 1 box | |
| Formula Em | |  | 3 | |
| Ex-Lax | |  | 1 box | |
| Famotidine (Pepcid, Pepcidine) | | 10mg | 1 box | |
| Guaifenesin Syrup and Dextromethorphan (Robitussin) | | Bottle | 1 | |
| Hibiclins | | 16 oz | 1 | |
| Hydrocortisone cream 1% | | Tube | 1 | |
| **Ibuprofen (Advil, Motrin, Nurofen) \*** | | **200mg** | **2 boxes** | |
| Loperamide hydrochloride (Imodium, Gastro Stop) | | 2mg | 2 boxes | |
| Meclizine HCl (Bonine, Antivert) | | 25mg | 10 | |
| Miconazole nitrate topical (Monistat) | |  | 1 pack | |
| **Naproxen (Aleve, Naprosyn) \*** | | **220mg** | **2 boxes** | |
| Oral rehydration salts | |  | 4 | |
| Orarelief Gel | | 0.25oz | 3 | |
| **Drug Name** | | **Dose Form** | **QTY** | |
| Pepto-bismol | |  | 1 box | |
| Phenazopyridine hydrochloride | | 95mg | 1 box | |
| Pseudoephedrine (Sudafed) | | 30mg | 1 box | |
| Tolnaftate Cream 15g | | 1% | 6 | |
| Triple Antibiotic Cream | | packet | 1 box | |
| Cough Drops | |  | 1 box | |
| Vicks Vapor Rub | | jar | 2 | |

**Over the Counter dose NOT to be exceed without prior authorization of the Local** **Medical Director.** Typical OTC dosages in the United States are below:

* Acetaminophen: 2 tabs every 6 hours. Maximum dose 4g per day
* Aspirin: 1-3 tablets every 4 hours
* Ibuprofen: 2 tablets every 6 hours
* Naproxen: 1 tablet every 12 hours

| **Medical Equipment** |  | | | **QTY** | | | |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Cardiac Monitor and Supplies (Essential)** | | | | | | | |
| Rechargeable Battery |  | | | 4 | | | |
| Battery Charger |  | | | 1 | | | |
| Adult BP Cuff |  | | | 1 | | | |
| 10 ft. BP Cuff Hose |  | | | 1 | | | |
| Adult Clip on Sensor |  | | | 1 | | | |
| Sensor Extension |  | | | 1 | | | |
| Disposable Sensor |  | | | 1 | | | |
| ETCO2 Filterline Set |  | | | 1 | | | |
| ETCO2 Nasal Filterline |  | | | 1 | | | |
| EKG Printer Paper |  | | | 1 | | | |
| 6 Wire Precordial Leads |  | | | 1 | | | |
| Therapy Cable |  | | | 1 | | | |
| 4 Wire Limb Leads |  | | | 1 | | | |
| Main Trunk Cable 8 ft. |  | | | 1 | | | |
| Quick Combo Adult |  | | | 1 | | | |
| Load test for LIFEPAK12 |  | | | 1 | | | |
| Protective Screen Shield |  | | | 1 | | | |
| **Glucometer Supplies (Essential)** | | | | | | | |
| Glucometer |  | | | 1 | | | |
| Glucometer Battery (spare) |  | | | 1 | | | |
| Glucometer Strips (bottle) |  | | | 2 | | | |
| Glucometer Systems "Check Key" |  | | | 1 | | | |
| Glucometer Test Solution (expires 90 days from opening) |  | | | 1 | | | |
| Lancets (bag) |  | | | 1 | | | |
| **Airway Management (Essential)** | | | | | | | |
| 14 gauge Catheter 2 1/4" (Chest Decompression) |  | | | 2 | | | |
| 3mm Endotracheal Tube - Blue Line |  | | | 1 | | | |
| 6mm Endotracheal Tubes with Stylette |  | | | 3 | | | |
| 7mm Endotracheal Tubes with Stylette |  | | | 3 | | | |
| 8mm Endotracheal Tubes with Stylette |  | | | 3 | | | |
| Batteries (Spare C-cells for Laryngoscope) |  | | | 4 | | |
| Ambu-Bag, Adult with tubing |  | | | 2 | | |
| Busse Suction Tip with Tubing |  | | | 3 | | |
| **Medical Equipment** |  | | | **QTY** | | |
| Easy Cap CO2 Indicator |  | | | 2 | | |
| Endotrol size 7 |  | | | 1 | | |
| Esophageal / Tracheal Tube (Combitube) |  | | | 1 | | |
| Epistix (bite stick) |  | | | 2 | | |
| Endotracheal Tube restraints |  | | | 3 | | |
| Laryngoscope handle |  | | | 1 | | |
| Macintosh Blade #3 |  | | | 1 | | |
| Macintosh Blade #4 |  | | | 1 | | |
| MAD 300 device |  | | | 1 | | |
| Magil Forceps |  | | | 1 | | |
| Miller Blade #2 |  | | | 1 | | |
| Miller Blade #3 |  | | | 1 | | |
| Nasopharyngeal Airway (22) |  | | | 1 | | |
| Nasopharyngeal Airway (26) |  | | | 1 | | |
| Nasopharyngeal Airway (34) |  | | | 1 | | |
| Nasopharyngeal Airway (36) |  | | | 1 | | |
| Nasoscope |  | | | 1 | | |
| Oral Airway (80 mm) |  | | | 2 | | |
| Oral Airway (90 mm) |  | | | 2 | | |
| PerTrach |  | | | 1 | | |
| Phenylephrine nasal spray |  | | | 1 | | |
| Pocket mask with valve |  | | | 1 | | |
| Portable Suction Unit |  | | | 1 | | |
| Suction Catheters |  | | | 3 | | |
| Tube check bulb |  | | | 2 | | |
| Vaseline Gauze |  | | | 10 | | |
| Ambu-Suction Pump (Hand Operated) |  | | | 1 | | |
| Ambu-Suction Pump Cartridge |  | | | 1 | | |
| **Oxygen Equipment (Essential)** | | | | | | |
| Micro Mist Nebulizer |  | | | 3 | | |
| Micro Mist Nebulizer (Aerosol) Masks |  | | | 3 | | |
| Jumbo "D" Cylinder Oxygen case |  | | | 3 | | |
| Oxygen Key / Wrench |  | | | 1 | | |
| Oxygen Mask (non-rebreather) |  | | | 4 | | |
| Oxygen Nasal Cannula |  | | | 4 | | |
| Oxygen Regulator |  | | | 1 | | |
| Pulse Oximeter with 2 probes |  | | | 1 | | |
| **Intravenous Injection Supplies (Essential)** | | | | | | |
| Dextrose 5% (D5W) | 250mL | | | 4 | | |
| Ringers lactate | 1L | | | 6 | | |
| Normal Saline 0.9% (sodium chloride) | 100mL | | | 2 | | |
| Normal Saline 0.9% (sodium chloride) | 1L | | | 6 | | |
| Sodium Chloride 10cc in 12cc Prefilled Syringe |  | | | 8 | | |
| Injectable Sterile Water (vials) |  | | | 2 | | |
| Saline Lock Injection Cap |  | | | 5 | | |
| Secondary IV Set |  | | | 1 | | |
| IV Tubing / 10 Drop Admin. Set |  | | | 4 | | |
| IV Tubing / 60 Drop Admin. Set |  | | | 4 | | |
| Tourniquets |  | | | 4 | | |
| IV Arm Board |  | | | 3 | | |
| EZIO Case |  | | | 1 | | |
| EZIO Driver |  | | | 1 | | |
| EZIO Needle |  | | | 1 | | |
| EZIO Start Kit |  | | | 1 | | |
| 20 gauge IV Cannula |  | | | 5 | | |
| 18 gauge IV Cannula |  | | | 5 | | |
| 16 gauge IV Cannula |  | | | 5 | | |
| 14 gauge IV Cannula |  | | | 5 | | |
| Veni-Gard |  | | | 5 | | |
| 27-gauge Needle 1 1/2" |  | | | 5 | | |
| 22 gauge Needle 1 1/2" |  | | | 5 | | |
| 20 gauge Needle 1 1/2" |  | | | 5 | | |
| 18 gauge Needle 1 1/2" |  | | | 5 | | |
| 60cc Syringe (luerlock) |  | | | 2 | | |
| 10cc Syringe (luerlock) |  | | | 5 | | |
| 3cc Syringe (luerlock) |  | | | 5 | | |
| 1cc Syringe (luerlock) with 25 gauge Needle 5/8" |  | | | 5 | | |
| **Immobilization (Essential)** | | | | | | |
| Adjustable C-Collar |  | | | 4 | | |
| Arm sling cradle |  | | | 2 | | |
| Folding Metal Board |  | | | 1 | | |
| Femoral Traction Splint |  | | | 1 | | |
| Finger Splint Malleable |  | | | 5 | | |
| Forearm / hand splint |  | | | 4 | | |
| KED Half-spine board (Kendrick Extrication Device) |  | | | 1 | | |
| Multi-Grip Head Immobilizer - Disposable |  | | | 4 | | |
| SAM Splints rigid |  | | | 6 | | |
| Scoop Stretcher |  | | | 1 | | |
| Straps |  | | | 6 | | |
| **Laceration Management (Essential)** | | | | | | |
| Suture material prolene 3.0 FS-2 # 8665H (each) |  | | | 2 | | |
| Suture material prolene 4.0 FS-2 # 8683H (each) |  | | | 2 | | |
| Suture material prolene 5.0 FS-2 # 8661H (each) |  | | | 2 | | |
| ABD Dressing 8x10 |  | | | 1 box | | |
| Band-Aids Finger Tip |  | | | 1 box | | |
| Band-Aids Knuckle |  | | | 1 box | | |
| Band-Aids Regular |  | | | 1 box | | |
| Benzoin Swabs |  | | | 6 | | |
| Betadine Scrub Brushes (each) |  | | | 4 | | |
| Betadine (bottle) | |  | | 1 | | |
| Butterfly bandages | |  | | 5 | | |
| Gauze – 4x4 | |  | | 2 boxes | | |
| Gauze roll | |  | | 1 | | |
| Kling - 4" conforming gauze bandage | |  | | 2 rolls | | |
| Scalpel | |  | | 3 | | |
| Steril Pick-ups | |  | | 2 | | |
| Steri-Strips (pack of 10) | |  | | 5 | | |
| Suture Removal Kit | |  | | 2 | | |
| Suture Tray | |  | | 2 | | |
| Telfa Pads 2x3 Non-stick | |  | | 1 box | | |
| Triangular Bandages | |  | | 5 | | |
| **Exposure Control (Essential)** | | | | | | |
| N95-HepaMask, 695 (one size fits all) | |  | | 100 | | |
| Latex Gloves Medium | |  | | 1 box | | |
| Latex Gloves Large | |  | | 1 box | | |
| Latex Gloves X-Large | |  | | 1 box | | |
| Latex-free Gloves Large | |  | | 1 box | | |
| Sterile Gloves size 7 | |  | | 3 | | |
| Sterile Gloves Size 8 | |  | | 3 | | |
| Fluid Shield Mask | |  | | 5 | | |
| Goggles | |  | | 5 | | |
| Gown (disposable) | |  | | 10 | | |
| Sharps Container | |  | | 2 | | |
| Sharp Shuttle | |  | | 1 | | |
| Surgical Masks (box) | |  | | 2 | | |
| Red Bags - Disposable (roll) | |  | | 1 | | |
| Bio-Hazard Tape | |  | | 1 | | |
| Bio-Hazard Bags | |  | | 6 | | |
| **Examination Equipment (Essential)** | | | | | | |
| Blood Pressure Cuff (large/thigh) | | |  | | 1 | |
| Blood Pressure Cuff (regular) | | |  | | 2 | |
| Eye Chart, Snellen | | |  | | 1 | |
| Eye Cups (6/vial) | | |  | | 2 | |
| Eye Dressings / Oval | | |  | | 12 | |
| Refresh Plus Eye Drops | | |  | | 10 | |
| Eye Magnet with Loop | | |  | | 1 | |
| Eye Wash Solution | | |  | | 6 bottles | |
| Fluorescein 1% Strips (pack of 12) | | |  | | 1 | |
| Hard Protective Eye Patch | | |  | | 4 | |
| Optivisor LX with Lens #3 | | |  | | 1 | |
| Otoscope / Ophthalmoscope | | |  | | 1 | |
| Pen Light (LED) | | |  | | 1 | |
| Pen Lights with blue covers | | |  | | 3 | |
| Percussion Hammer | | |  | | 1 | |
| Speculum Tips 4mm (pack) | | |  | | 1 | |
| Stethoscope | | |  | | 2 | |
| Thermometer (digital oral) | | |  | | 1 | |
| Thermometer Covers (pack) | | |  | | 1 | |
| Tongue Depressors (bag of 25) | | |  | | 1 | |
| **Miscellaneous Supplies (Recommended)** | | | | | | |
| ACE Bandage 4" | | |  | | 3 | |
| ACE Bandage 6" | | |  | | 3 | |
| Alcohol 70% liquid | | |  | | 1 | |
| Alcohol Swabs (box) | | |  | | 1 | |
| Ammonia Inhalants (box) | | |  | | 1 | |
| Bandage Scissors | | |  | | 1 | |
| Body Bag | | |  | | 1 | |
| Burn Sheets | | |  | | 2 | |
| Clip Board | | |  | | 1 | |
| Cold Pack | | |  | | 3 | |
| Convenience Bag | | |  | | 3 |
| Cotton Balls (bag) | | |  | | 1 |
| Curette cerumen Loops (bag of 10) | | |  | | 1 |
| Ear Syringe Bulb | | |  | | 1 |
| Heating Pad (ThermaCare) | | |  | | 1 box |
| Hydrogen Peroxide (bottle) | | |  | | 2 |
| KY Jelly (for defibrillator pads) | | |  | | 5 |
| Medic Box (Orange) | | |  | | 1 |
| Medicine Cups (pack) | | |  | | 1 |
| Nail Clipper | | |  | | 1 |
| Non-Sterile Q-Tips (bag) | | |  | | 1 |
| Paramedic Scissors | | |  | | 1 |
| Paraphin Wax | | |  | | 1 |
| Razor, Disposable (1-pack of 5 razors) | | |  | | 1 |
| Ring Cutter | | |  | | 1 |
| Sanitary pads (feminine hygiene) | | |  | | 1 pack |
| Sterile Q-Tips (pack of 2) | | |  | | 12 |
| Sterile Water | | |  | | 6 |
| Tape 1" (box) | | |  | | 1 |
| Tape 4" Coban | | |  | | 4 |
| Trauma Bag (black bag) | | |  | | 1 |
| Triage Tags | | |  | | 50 |
| Tweezer | | |  | | 1 |
| **Drug and Alcohol Testing (Recommended)** | | | | | |
| E-Z Split Cups (25 kits per case) | | |  | | 2 |
| Split Kits (25 per case) | | |  | | 2 |
| Laboratory Shipping Supplies | | |  | | 50 |
| Lifeloc Phoenix 6.0 Portable Breath Analyzer | | |  | | 1 |
| Phoenix 6.0 Mouthpieces (100 per pack) | | |  | | 1 |
| Permafix Labels (190 per roll) | | |  | | 1 |
| 0.04 Dry Gas Tank 34 Liter | | |  | | 1 |
| Bluing Tablets | | | Bottle | | 1 |
| Consent Forms – Employee | | |  | | 50 |
| Consent Forms – Contractor | | |  | | 50 |
| Chain of Custody Forms | | |  | | 50 |
| Breath Alcohol Forms | | |  | | 50 |
| Authorization to Release Pertinent Records (Non-negative) | | |  | | 20 |